## Member Information Input
2016 Commercial Rebate Program
Heating, Ventilation & Air Conditioning Systems
( Member Information Page )
Wright-Hennepin Cooperative Electric Assn., P.O. Box 330, Rockford, MN 55373 Ph: 763-477-3000
Business Member Information
Business name
Billing address |  |  |  | Phone
| City |  | State | ZIP
Installation address
(if different from above)
Account number
Contact name |  |  |  | Phone
Email
Vendor Information
Vendor name
Vendor address
City, State, ZIP
Vendor contact name |  |  |  | Phone
Email
Member signature |  |  |  | Date
How to Apply for all W-H Commercial HVAC related Rebate Programs:
1. Complete the relevant rebate forms, including all pertinent information.
(please note all warranty information, rules, and qualifications on the rules and information tabs per relevant forms)
2. Forward the applicable completed application forms, including copies of relevant project invoices
(if available at time of submittal) to a W-H commercial key account representative for review.
3. The cooperative's subsequent approval is required, to ensure payment of applicable rebate incentive.
The undersigned does hereby certify that 1) The undersigned, and not the cooperative, is solely responsible for the accuracy of the information contained in this application, 2) all rules of the relevant rebate program (RTU, Chiller, etc.) have been followed, and 3) the installation is complete. Further, the undersigned acknowledges that nothing contained in the application shall impose any liability on the cooperative for the work performed and information presented by the member’s engineer, contractor or vendor. Wright-Hennepin Cooperative Electric Association will hereafter be referred to in this application as "W-H" or as " the cooperative".

## RTU Rules & Information
- 2016 -
Heating, Ventilation & Air Conditioning Systems
Rules & Information: Rooftop Units, Split Systems, Air Source Heat Pumps, Economizers
Wright-Hennepin Cooperative Electric Assn., P.O. Box 330, Rockford, MN 55373 Ph: 763-477-3000
Specific Rules and Qualifications
1. Documents establishing proof-of-purchase (invoice) must be furnished with the original rebate application.
2. On the documents establishing proof-of-purchase, circle the energy-saving product(s) for which a rebate is requested and attach to the original application. If not indicated on the invoice, please add the number of units installed, manufacturer, model number and capacity (in tons).
3. Submit the manufacturer’s data sheets with the rebate application. The sheets must show efficiency ratings in accordance with the most recent Air Conditioning and Refrigeration Institute (ARI) Standards and must contain efficiency information for the following:
– Rooftop units, split systems, air source heat pumps, condenser units economizers
– SEER, EER, iEER, HSPF
– IPLV (if applicable)
4. Only new and complete central air conditioning units and remote condensing unit retrofits qualify. Rebuilds do not qualify.
5. The new equipment must use a minimum ozone depleting refrigerant.
6. If the efficiency rating is in SEER where the application asks for EER, multiply SEER by .855 to calculate EER rating.
7. The cooperative retains the right to make adjustments to correct incentive calculations if necessary.
Split Systems Rebate Rules
1. Both the condensing unit and the A-coil must be purchased to be eligible to receive a rebate.
Economizer Rules
1. Enthalpy controls required for rebate.
2. CO2 controls are optional but recommended.
Warranty Information
Rebate qualifications do not imply any representation or warranty of such equipment, design or installation by the cooperative. The cooperative shall not be responsible or liable for any personal injury or property damage caused by this equipment. The cooperative does not guarantee that a specific level of energy or cost savings will result from the implementation of energy conservation measures or the use of products funded under this program. In no event shall the cooperative be liable for any incidental or consequential damages.
Other Important Program Rules
1. Evaluation must be complete before funds will be issued for the rebate.
2. Members and vendors must submit itemized equipment invoices, along with rebate application and worksheet, to the cooperative. To ensure that the equipment installed meets the cooperative's performance standards, these invoices must itemize labor charges, quantity and price of the equipment installed, as well as information regarding the manufacturer and model numbers for all equipment included in the rebate.
3. The cooperative reserves the right to conduct random inspections of installations.
4. The member is responsible for checking with the cooperative to determine whether funding is available and to verify program parameters.
5. Project must comply with all program specific rules and qualifications.
6. The maximum rebate amount shall be the lesser of 50 percent of the project cost or as determined by the cooperative.
7. Qualifying members must apply for rebates no later than November 18, 2016.
.

## RTU Data Input
- 2016 -
Data Input Page: Rooftop Units, Split Systems, Air Source Heat Pumps, Economizers
Wright-Hennepin Cooperative Electric Assn., P.O. Box 330, Rockford, MN 55373 Ph: 763-477-3000
| Business Name: | 0
Minimum Qualifying Criteria
| Equipment Type |  |  | Unit Tons | EER, SEER or iEER |  | Base Rebate $/ton | Incremental rebate, $/ton per 0.1 EER/SEER above base | Specific Rules
Rooftop Units (RTU)
| ≤ 65,000 Btuh |  |  | < 5.4 | 13.50 (SEER) | 13.5 (iEER) | 18 | 5 | ARI Standards
| ≥ 65,000 - < 135,000 |  |  | 5.5 - 11.3 | 10.8 | 13 | 18 | 5 | ARI Standards
| ≤ 135,000 - < 240,000 |  |  | 11.4 - 19.9 | 10.7 | 13 | 18 | 5 | ARI Standards
| ≤ 240,000 - < 760,000 |  |  | 20.0 - 63.3 | 10.2 | 12 | 18 | 5 | ARI Standards
| ≥ 760,000 |  |  | ≥ 63.3 | 9.6 | 12 | 18 | 5 | ARI Standards
Split Systems
| ≤ 65,000 |  |  | < 5.4 | 13.5 (SEER) |  | 18 | 5 | ARI Standards
| ≥ 65,000 - < 135,000 |  |  | 5.5 - 11.3 | 10.8 |  | 18 | 5 | ARI Standards
| ≥ 135,000 - ≤ 250,000 |  |  | 11.4 - 19.9 | 10.7 |  | 18 | 5 | ARI Standards
| Air Source Heat Pumps |  |  |  |  | HSPF
| ≤ 65,000 |  |  | < 5.4 | 13.0 (SEER) | 7.7 | 200 | 5 | ARI, 3.2 COP rated at 47° F
| ≥ 65,000 - < 135,000 |  |  | 5.5 - 11.3 | 10.1 | 8.5 | 200 | 5 | ARI, 3.2 COP rated at 47° F
| ≥ 135,000 - ≤ 250,000 |  |  | 11.4 - 20 | 9.3 | 8.5 | 200 | 5 | ARI, 3.2 COP rated at 47° F
Condensers
| > 65,000 - < 135,000 |  |  | 5.5 - 11.3 | 10.8 |  | 18 | 5 | ARI Standards
| ≥ 135,000 |  |  | ≥ 11.4 | 10.7 |  | 18 | 5 | ARI Standards
| RTU Economizers |  |  |  | Enthalpy controlled and includes CO2 controls |  | $13 / RTU Ton
| EER - Energy Efficiency Ratio (Btu/Watt) |  |  |  |  | IPLV - Integrated Part Load Value
| SEER - Seasonal Energy Efficiency Ratio (Btu/watt) |  |  |  |  | FLV - Base Full Load Value ( kW/ton)
| C.O.P. - Coefficient of Performance |  |  |  |  | NPLV - Non-Standard Part Load Value (kW/ton)
| HSPF - Heating Seasonal Performance Factor |  |  |  |  | iEER - Intergrated Energy Efficiency Ratio
| Roof Top Units |  |  | Split System |  | Condensing Units
[5 empty] | A | B | C | D | E | F
| Manufacturer |  | Model Number | A-Coil Model Number | Tons/unit | Base Rebate $18 X A | SEER, EER or iEER | Minimum Qualifying Efficiency (see table) | Eff. Rebate $5 X A X 10 X (C - D) | Number of Units | Rebate (B + E) X F
[6 empty] | 0 |  |  | 0 |  | 0
[6 empty] | 0 |  |  | 0 |  | 0
[6 empty] | 0 |  |  | 0 |  | 0
[6 empty] | 0 |  |  | 0 |  | 0
Total Rebate = [Base Rebate $18 x Tons/Unit] + [Incremental Efficiency Rebate $5 X Tons/Unit X (SEER, EER or iEER minus Min. Qualifying Eff) X 10] X Number of Units
0
[10 empty] | Project Cost | 0
|  |  |  | Rebates must comply with all program specific rules and qualifications. | [5 empty] | Rebate | 0
Air Source Heat Pumps
[5 empty] | A | B | C | D | E | F
| Manufacturer |  | Model Number | A-Coil Model Number | Tons/unit | Base Rebate $200 X A | SEER or EER | Minimum Qualifying Efficiency (see table) | Eff. Rebate $5 X A X 10 X (C - D) | Number of Units | Rebate (B + E) X F
[6 empty] | 0 |  |  | 0 |  | 0
[6 empty] | 0 |  |  | 0 |  | 0
[6 empty] | 0 |  |  | 0 |  | 0
[6 empty] | 0 |  |  | 0 |  | 0
Total Rebate = [Base Rebate $200 x Tons/Unit] + [Incremental Efficiency Rebate $5 X Tons/Unit X (SEER or EER minus Min. Qualifying Eff) X 10] X Number of Units
0
[10 empty] | Project Cost | 0
|  |  |  | Rebates must comply with all program specific rules and qualifications. | [5 empty] | Rebate | 0
Economizers
[6 empty] | G | H
| Manufacturer |  |  | Model Number |  | RTU Tons/Unit | Number of Units | Enthalpy Controlled Y or N | CO2 Controls Purchased Y or N | Rebate $13 X G X H
0
0
0
0
Total Rebate = $13 X RTU Tons/Unit X Number of Units
0
[9 empty] | Project Cost | 0
|  |  |  | Rebates must comply with all program specific rules and qualifications. |  |  |  |  | Rebate | 0
[9 empty] | Tot. Project Cost | 0
[9 empty] | Total Rebate | 0

## Cooling calcs (hidden)
[9 empty] | Application # |  |  | 0
Customer | 0
Co-op | Wright-Hennepin Cooperative Electric Assn., P.O. Box 330, Rockford, MN 55373 Ph: 763-477-3000
Year | 2014
Cooling Energy Savings
kW - Tons * kW/Ton |  | kW/Ton = 12/EER or SEER
For RTU's & Split Systems | Units | Tons/Unit | SEER or EER - Installed | kW/Ton | SEER or EER -Required minus 2 | kW/Ton | Cooling FLH/Yr | kW Savings | Annual kWh Savings | Heating FLH/Yr | Project Life | Lifetime Energy Savings
< 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
< 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
< 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
< 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
5.5 - 11.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
5.5 - 11.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
5.5 - 11.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
5.5 - 11.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
11.4 - 19.9 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
11.4 - 19.9 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
11.4 - 19.9 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
11.4 - 19.9 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
20.0 - 63.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
20.0 - 63.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
20.0 - 63.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
20.0 - 63.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 1000 | 15 | 0
> 63.3 | FALSE | FALSE | 0 | 0 | 7.2 | 1.5 | 866 | 0 | 0 | 1000 | 15 | 0
> 63.3 | FALSE | FALSE | 0 | 0 | 7.2 | 1.5 | 866 | 0 | 0 | 1000 | 15 | 0
> 63.3 | FALSE | FALSE | 0 | 0 | 7.2 | 1.5 | 866 | 0 | 0 | 1000 | 15 | 0
> 63.3 | FALSE | FALSE | 0 | 0 | 7.2 | 1.5 | 866 | 0 | 0 | 1000 | 15 | 0
[7 empty] | RTU/Split System Total Energy Savings | 0 | 0 |  |  | 0
For ASHP | Units | Tons/Unit | SEER or EER - Installed | kW/Ton | SEER or EER -Required minus 2 | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  | Project Life | Lifetime Energy Savings | heating Savings | ASHP operatign hrs yr. | Assumed avg. C.O.P.
< 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0 |  | 1000 | 2.5
< 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
< 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
< 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
5.5 - 11.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
5.5 - 11.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
5.5 - 11.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
5.5 - 11.3 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
11.4 - 20 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
11.4 - 20 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
11.4 - 20 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
11.4 - 20 | FALSE | FALSE | 0 | 0 | 0 | 0 | 866 | 0 | 0 |  | 15 | 0
[7 empty] | ASHP System Total Energy Savings | 0 | 0 |  |  | 0
For Economizers | Units | Tons/Unit | SEER or EER | kW/Ton |  |  | FLH/Yr | kW Savings | Annual kWh Savings |  | Project Life | Lifetime Energy Savings
| 0 | 0 | 10.5 | 1.1429 |  |  | 866 | 0 | 0 |  | 15 | 0
| 0 | 0 | 10.5 | 1.1429 |  |  | 866 | 0 | 0 |  | 15 | 0
| 0 | 0 | 10.5 | 1.1429 |  |  | 866 | 0 | 0 |  | 15 | 0
| 0 | 0 | 10.5 | 1.1429 |  |  | 866 | 0 | 0 |  | 15 | 0
[8 empty] | 0 | 0 |  |  | 0
[7 empty] | Economizer Total Energy Savings | 0 | 0 |  |  | 0
Chiller | Units | Tons/Unit | kW/Ton - Installed | FLH/Yr | Max kW/Ton | kW Savings | Annual kWh Savings | Project Life | Lifetime Energy Savings
< 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
< 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
[5 empty] | Chiller Total Energy Savings | 0 | 0 |  | 0
[8 empty] | Total kWh Savings |  |  | 0
Rebates must comply with all program specific rules and qualifications. | [7 empty] | Total kW Savings |  |  | 0
Minimum Qualifying Criteria |  |  |  |  | Rebates | [5 empty] | 0
Equipment Type |  | Unit Tons | EER | IPLV | Base Rebate $/ton | Increm - $/ton per 0.1 EER above base
Packaged Terminal Air Conditioners (PTAC)
with Elec. Resis. Htg |  |  | 10 |  | 9.75 | 1.65
with Heat Pump Htg |  |  | 10 |  | 9.75 | 3.25
Geothermal Heat Pumps |  |  |  | COP
Closed Loop |  |  | 14.1 | 3.3 | 18 | 5
Open Loop |  |  | 16.2 | 3.6 | 18 | 5
Direct Exchange |  |  | 15 | 3.5 | 18 | 5
Rooftop Units (RTU)
< 65,000 Btuh |  | <5.4 | 11 | SEER | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 | 10.6 | 18 | 5
135,000 < X < 240,000 |  | 11.4 - 19.9 | 9.7 | 9.9 | 18 | 5
240,000 < X < 760,000 |  | 20.0 - 63.3 | 9.5 | 9.7 | 18 | 5
> 760,000 |  | > 63.3 | 9.2 | 9.4 | 18 | 5
Split Systems
< 65,000 Btuh |  | < 5.4 | 12.00(SEER) |  | 18 | 5
Condensers
< 65,000 Btuh |  | < 5.4 | 12 |  | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  | 18 | 5
> 135,000 |  | > 11.4 | 10.1 |  | 18 | 5
Chillers |  |  | Full Load Efficiency kW/ton | Non-Standard Part Load Value Efficiency kW/ton | Base Rebate $/ton | Incremental rebate, $/ton per 0.010 kW/ton below base
< 150 tons (Centrifugal or Screw) |  |  | 0.65 | - | 26 | 6.5
> 150 tons (Centrifugal or Screw)* |  |  | 0.6 | - | 26 | 6.5
> 150 tons (Centrifugal only)* |  |  | 0.6 | 0.56 | 22.75 | 2.6

## Chiller Rules & Qualifications
- 2016 -
Chillers, Cooling Towers, Air Handling VAVs
- Rules & Information Page -
Wright-Hennepin Cooperative Electric Assn., P.O. Box 330, Rockford, MN 55373 Ph: 763-477-3000
Specific Rules and Qualifications
1. Documents establishing proof-of-purchase (invoice) must be furnished when the original rebate application is completed.
2. On the documents establishing proof-of-purchase, circle the energy-saving products for which a rebate is requested and attach to the original application. If not indicated on the invoice, please add the number of units installed, manufacturer, model number and capacity (in tons).
3. Submit the manufacturer’s data sheets with the rebate application. The sheets must show efficiency ratings in accordance with the most recent ARI Standards (design conditions for chillers) and must contain efficiency information for the following:
– Chillers - kW/Ton
4. Only new and complete central air conditioning units, water chillers, and remote condensing unit retrofits qualify. Rebuilds do not qualify.
5. The new equipment must use a minimum ozone depleting refrigerant.
6. Rebates for air-cooled equipment are limited to 150 tons per account. Larger total capacities must use the cooperative's Custom Energy Grant Rebate program.
7. If the efficiency rating is stated in SEER where the application asks for EER, multiply the SEER by 0.855 to calculate EER rating.
8. The maximum rebate amount shall be the lesser of 50 percent of the project cost, or as determined by the cooperative.
Chiller Rules
1. No rebates will be provided for back-up systems. Back-up systems are defined as a separate chiller that is required only when a primary chiller fails.
2. The basis for the rebate efficiency level will be design conditions and chiller efficiency data as contained in the vendor's data.
3. Members can use either the standard rebate (i.e. based on full-load efficiency) or part-load rebate formula for centrifugal chillers ≥ 150 tons.
Heat Rejection Rules
(oversized cooling towers)
1. Rebate is paid per nominal tower ton.
2. Only new towers for electric chillers are eligible.
3. For purposes of determining rebate eligibility, design condensing water flow rate must be 3.0 gallons per minute per ton.
4. Design condensing water temperature to chiller must be 84°F or less.
5. Cooling tower size must be larger than that which would be used to achieve a design condensing water temperature to the chiller of 85°F at wet bulb temperature of 78°F .
6. The brake horsepower per cell of tower fans must not increase as compared to the tower which would deliver 85°F design condensing water temperature.
7. The motors used in the cooling tower fans must meet the cooperative's NEMA Premium Efficient Motor program standards. See Premium Efficient Motor Rebate application.
Air Handling Rules
(variable air volume (VAV) conversion)
1. Rebate is paid per VAV box. One box serves each air handling unit zone.
2. The installation may be new or retrofit applications. Baseline VAV model compares air-handling zone which is being converted from constant volume.
3. The zone must be air conditioned by electric cooling equipment.
4. Only new VAV boxes (without fans) for retrofit applications may qualify.
5. Supply and return fans (if return fans are used) serving the VAV zones must be equipped with Variable Frequency Drives (VFD).
6. Appropriate controls to reduce fan energy usage must be included.
7. The motors and/or VFDs for air handling fans must meet the cooperative's NEMA Premium Efficient Motor and VFD program standards. See Premium Efficient Motor Rebate and VFD Rebate applications.

## Chiller Data Input
- 2016 -
Chillers, Cooling Towers, Air Handling VAVs
Data Input Page
Wright-Hennepin Cooperative Electric Assn., P.O. Box 330, Rockford, MN 55373 Ph: 763-477-3000
Business Name: |  | 0
Minimum Qualifying Criteria
Equipment Type Unit Tons |  |  | Minimum Efficiency |  | Base Rebate, $/ton | Incremental rebate $/ton per 0.01 kW/ton SEER/EER 0.1 | Specific Rules
Air Cooled Chillers |  |  | FLV - EER | IPLV - SEER |  |  | Chiller rebates are based on design conditions
|  |  | 9.7 | 13 | 10 | 2
Water Cooled Chillers |  |  | FLV Efficiency kW/Ton | IPLV Efficiency kW/Ton |  |  | Chiller rebates are based on design conditions
< 150 Tons (centrifugal) |  |  |  |  | 20 | 2 | Must improve on ASHRAE 90.1
≥ 150 Tons (centrifugal) |  |  |  |  | 20 | 2 | 2010 baseline by 0.016 kW/ton
< 150 Tons (screw/scroll) |  |  | 0.74 | 0.6 | 18 | 2 | 0.74 FLV kW/ton, 0.60 IPLV kW/ton
≥ 150 Tons (screw/scroll) |  |  | 0.66 | 0.56 | 18 | 2 | 0.66 FLV kW/ton, 0.56 IPLV kW/ton
Cooling Towers |  |  | Over-sized only |  | $3/nominal tower ton
Air Handling Systems (VAV) |  |  |  |  | $170/VAV Box |  | Must be controlled and operated with VFD and premium motor
FLV - Base Full Load Value ( kW/ton) IPLV - Integrated Part Load Value (kW/ton)
Air Cooled Chillers
Manufacturer | Model No. |  | # of Units | Tons/Unit | Minimum Qualifying Efficiency | EER / SEER | Base Rebate | Incremental Eff. Rebate | Rebate
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
Example of Total Rebate = [Base Rebate $10 x Tons/Unit] + [Incremental Efficiency Rebate $2 X (Min. Qualifying EER/SEER from table - equip EER/SEER from vendor)/.1 x Tons] X Number of Units
0
[8 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
Chillers < 150 tons (Centrifugal)
Manufacturer | Model No. |  | # of Units | Tons/Unit | Minimum Qualifying Efficiency | kW/Ton | Base Rebate | Incremental Eff. Rebate | Rebate
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
Example of Total Rebate = [Base Rebate $20 x Tons/Unit] + [Incremental Efficiency Rebate $2 X (Min. Qualifying kW/Ton from table - equip kW/Ton from vendor)/.01 x Tons] X Number of Units
0
[8 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
Chillers ≥ 150 tons (Centrifugal)
Manufacturer | Model No. |  | # of Units | Tons/Unit | Minimum Qualifying Efficiency | kW/Ton | Base Rebate | Incremental Eff. Rebate | Rebate
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
Example of Total Rebate = [Base Rebate $20 x Tons/Unit] + [Incremental Efficiency Rebate $2 X (Min. Qualifying kW/Ton from table - equip kW/Ton from vendor)/.01 x Tons] X Number of Units
0
[8 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
Chillers < 150 tons (screw/scroll)
Manufacturer | Model No. |  | # of Units | Tons/Unit | Minimum Qualifying Efficiency | kW/Ton | Base Rebate | Incremental Eff. Rebate | Rebate
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
Example of Total Rebate = [Base Rebate $18 x Tons/Unit] + [Incremental Efficiency Rebate $2 X (Min. Qualifying kW/Ton from table - equip kW/Ton from vendor)/.01 x Tons] X Number of Units
0
[8 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
Chillers ≥ 150 tons (screw/scroll)
Manufacturer | Model No. |  | # of Units | Tons/Unit | Minimum Qualifying Efficiency | kW/Ton | Base Rebate | Incremental Eff. Rebate | Rebate
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
Example of Total Rebate = [Base Rebate $18 x Tons/Unit] + [Incremental Efficiency Rebate $2 X (Min. Qualifying kW/Ton from table - equip kW/Ton from vendor)/.01 x Tons] X Number of Units
0
[8 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
Cooling Towers
Manufacturer |  |  |  | Number of Units |  | Number of Tons |  |  | Rebate = $3 X # Tons X # Units
0
0
0
[8 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
Air Handling Systems (VAV's)
Manufacturer | [5 empty] | Number of Units |  | CFM | Rebate = $170 X # Units
0
0
0
[8 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
0
0

## Chiller Savings Sheet (hidden)
Customer: | [8 empty] | Application #:
Co-op: | (COOPERATIVE), Address, Phone
Year: | 2014
Cooling Energy Savings
kW - Tons * kW/Ton |  | kW/Ton = 12/EER or SEER
Air cooled chillers | Units | Tons/Unit | SEER or EER - Installed | kW/Ton | SEER or EER -Required | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings | Project Life | Lifetime Energy Savings
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
[8 empty] | 0 | 0 |  | 0
[8 empty] | 0 | 0 |  | 0
[7 empty] | air cooled chillerSystem Total Energy Savings | 0 | 0 |  | 0
[8 empty] | 0 | 0 |  | 0
[7 empty] | PTAC's Total Energy Savings | 0 | 0 |  | 0
Chiller | Units | Tons/Unit | kW/Ton - Installed | FLH/Yr | Max kW/Ton | kW Savings | Annual kWh Savings | Project Life | Lifetime Energy Savings
< 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
< 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
< 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
< 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
[5 empty] | water Chiller Total Energy Savings | 0 | 0 |  | 0
[5 empty] | VAV's | Number of Units |  | CFM | Savings
[6 empty] | 0 |  | 0 | 0
[6 empty] | 0 |  | 0 | 0
0
0
0
0
0
[8 empty] | Total kWh Savings | 0
Minimum Qualifying Criteria |  |  |  |  | Rebates |  |  | Total kW Savings | 0
Equipment Type |  | Unit Tons | EER | IPLV | Base Rebate $/ton | Increm - $/ton per 0.1 EER above base
Packaged Terminal Air Conditioners (PTAC)
with Elec. Resis. Htg |  |  | 10 |  | 9.75 | 1.65
with Heat Pump Htg |  |  | 10 |  | 9.75 | 3.25
Geothermal Heat Pumps |  |  |  | COP
Closed Loop |  |  | 14.1 | 3.3 | 18 | 5
Open Loop |  |  | 16.2 | 3.6 | 18 | 5
Direct Exchange |  |  | 15 | 3.5 | 18 | 5
Rooftop Units (RTU)
< 65,000 Btuh |  | <5.4 | 11 | SEER | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 | 10.6 | 18 | 5
135,000 < X < 240,000 |  | 11.4 - 19.9 | 9.7 | 9.9 | 18 | 5
240,000 < X < 760,000 |  | 20.0 - 63.3 | 9.5 | 9.7 | 18 | 5
> 760,000 |  | > 63.3 | 9.2 | 9.4 | 18 | 5
Split Systems
< 65,000 Btuh |  | < 5.4 | 12.00(SEER) |  | 18 | 5
Condensers
< 65,000 Btuh |  | < 5.4 | 12 |  | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  | 18 | 5
> 135,000 |  | > 11.4 | 10.1 |  | 18 | 5
Chillers |  |  | Full Load Efficiency kW/ton | Non-Standard Part Load Value Efficiency kW/ton | Base Rebate $/ton | Incremental rebate, $/ton per 0.010 kW/ton below base
< 150 tons (Centrifugal or Screw) |  |  | 0.65 | - | 26 | 6.5
> 150 tons (Centrifugal or Screw)* |  |  | 0.6 | - | 26 | 6.5
> 150 tons (Centrifugal only)* |  |  | 0.6 | 0.56 | 22.75 | 2.6

## PTAC Rules & Information
- 2016 -
* Packaged Terminal Air Conditioner / Heat Pump (PTAC/HP)
* Mini-Split & Water-Source Heat Pumps
- Rebate Program Rules & Information -
Wright-Hennepin Cooperative Electric Assn., P.O. Box 330, Rockford, MN 55373 Ph: 763-477-3000
Warranty Information
Rebate qualifications do not imply any representation or warranty of such equipment, design or installation by the cooperative. The cooperative shall not be responsible or liable for any personal injury or property damage caused by this equipment. The cooperative does not guarantee that a specific level of energy or cost savings will result from the implementation of energy conservation measures or the use of products funded under this program. In no event shall the cooperative be liable for any incidental or consequential damages.
Other Important Program Rules
1. Installation must be complete before funds will be issued for the rebate.
2. Members and vendors must submit itemized equipment invoices, along with rebate application and worksheet, to the cooperative. To ensure that the equipment installed meets the cooperative's performance standards, these invoices must itemize labor charges, quantity and price of the equipment installed, as well as information regarding the manufacturer and model numbers for all equipment included in the rebate.
3. The cooperative reserves the right to conduct random inspections of installations.
4. The member is responsible for checking with the cooperative to determine whether funding is available and to verify program parameters.
5. Project must comply with all program specific rules and qualifications.
6. The maximum rebate amount shall be the lesser of 50 percent of the project cost or as determined by the cooperative.
7. Qualifying members must apply for rebates no later than November 18, 2016.
Specific Rules and Qualifications
1. Documents establishing proof-of-purchase (invoice) must be furnished when the original rebate application is completed.
2. On the documents establishing proof-of-purchase, circle the energy-saving product(s) for which a rebate is requested and attach to the original application. If not indicated on the invoice, please add the number of units installed, manufacturer, model number and capacity (in tons).
3. Customers should use a separate form for each size category of equipment to facilitate calculations.
4. Submit the manufacturer’s data sheets with the rebate application. The sheets must show efficiency ratings in accordance with the most recent Air-Conditioning, Heating, and Refrigeration Institute (AHRI) Standards and must contain efficiency information for the following:
– PTAC & PTASHP – Mini-split AC & ASHP
– Water Source HP
– SEER or EER
5. Only new and complete units qualify.
6. The new equipment must use a minimum ozone depleting refrigerant.

## PTAC Data Input
- 2016 -
* Packaged Terminal Air Conditioner / Heat Pump (PTAC/HP)
* Mini-Split & Water-Source Heat Pumps
Data Input Page
Wright-Hennepin Cooperative Electric Assn., P.O. Box 330, Rockford, MN 55373 Ph: 763-477-3000
Business Name
Minimum Qualifying Criteria
Packaged Terminal Air Conditioners (PTAC's) |  | EER / C.O.P.* |  | Base Rebate, $/ton | Incremental rebate, $/ton per 0.1 EER above base |  | Specific Rules
With electric resistance heating |  | 12 |  | 10 | 1.75 |  | ARI Standards
With heat pump heating* |  | 12 / 2.5 |  | 10 | 3.5 |  | ARI Standards
Mini-Split AC & ASHP
With electric resistance heating |  | 13 |  | 200 | 0 |  | mini-split ASHP rebate at $200 / unit
With heat pump heating* |  | 13/2.5 |  | 300 | 0 |  | mini-split ASHP rebate at $300 / unit
Water-Source Heat Pumps with C.O.P. ≥ 4.1 |  | 12 |  | 13 | 1.3 |  | EER based on ARI Standards
EER - Energy Efficiency Ratio (Btu/Watt) |  | SEER - Seasonal Energy Efficiency Ratio (Btu/watt) |  |  |  |  | C.O.P. - Coefficient of Performance
Packaged Terminal Air Conditioner (PTAC)
|  |  | A | B | C |  | D | E
PTAC | Manufacturer & Model Number |  | # of Units | Tons/Unit | EER |  | Base Rebate | Incremental Efficiency Rebate | Total Rebate D + E
Units w/ Resistance Htg | [6 empty] | 0 | 0 | 0
Units w/ Resistance Htg | [6 empty] | 0 | 0 | 0
Rebate calculations (Resistance Heating) = [Base Rebate (A X B X $10) + Inc. Eff. Rebate (A X B x $1.75 x (C - 10)/0.1)) ] | [8 empty] | 0
Rebate calculations (Heat Pump Heating) = [Base Rebate (A X B X $10) + Inc. Eff. Rebate (A X B X $3.50 x (C - 10)/0.1)) ] | [7 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
Packaged Terminal Air Source Heat Pump (PTASHP)
|  |  | A | B | # | C | D | E
PTASHP | Manufacturer & Model Number |  | # of Units | Tons/Unit | C.O.P. | EER | Base Rebate | Incremental Efficiency Rebate | Total Rebate D + E
Units w/ Heat Pump Htg | [6 empty] | 0 | 0 | 0
Units w/ Heat Pump Htg | [6 empty] | 0 | 0 | 0
Rebate calculations (Resistance Heating) = [Base Rebate (A X B X $10) + Inc. Eff. Rebate (A X B x $1.75 x (C - 10)/0.1)) ] | [8 empty] | 0
Rebate calculations (Heat Pump Heating) = [Base Rebate (A X B X $10) + Inc. Eff. Rebate (A X B X $3.50 x (C - 10)/0.1)) ] | [7 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
Mini-Split Air Conditioning System
|  |  | A | B | C |  | D
Mini-Split Air Conditioning System | Manufacturer & Model Number |  | # of Units | Tons/Unit | EER |  | Base Rebate |  | Total Rebate D + E
Units w/ Resistance Htg | [6 empty] | 0 |  | 0
Units w/ Resistance Htg | [6 empty] | 0 |  | 0
0
[8 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
Mini-Split Air Source Heat Pump
|  |  | A | B | # | C | D
Mini-Split Air Source Heat Pump | Manufacturer & Model Number |  | # of Units | Tons/Unit | C.O.P. | EER | Base Rebate |  | Total Rebate D + E
Units w/ Heat Pump Htg | [6 empty] | 0 |  | 0
Units w/ Heat Pump Htg | [6 empty] | 0 |  | 0
0
[8 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
Water-Source Heat Pump
|  |  | A | B | C |  | D | E
Manufacturer | Model Number |  | # of Units | Tons/Unit | EER |  | Base Rebate | Incremental Efficiency Rebate | Total Rebate D + E
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
Rebate calculations (Resistance Heating) = [Base Rebate (A X B X $13) + Inc. Eff. Rebate (A X B x $1.30 x (C - 12)/0.1)) ] | [8 empty] | 0
0
[8 empty] | Project Cost | 0
Rebate must comply with all program specific rules and qualifications. | [7 empty] | Rebate | 0
[8 empty] | Total Rebate | 0
0

## PTAC Savings Sheet (2) (hidden)
Application #
Packaged Terminal Air Conditioner / Heat Pump (PTAC/HP)
Mini-Split & Water-Source Heat Pumps
(COOPERATIVE), Address, Phone
Business Name:
kW - Tons * kW/Ton |  |  | kW/Ton = 12/EER or SEER
For PTAC's | Units | Tons / Unit | SEER or EER - Installed |  | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  |  | Project Life | Lifetime Energy Savings
< 5.1 | 0 | 0 | 0 |  | 0 | 8 | 1.5 | 866 | 0 | 0 |  |  | 15 | 0
< 5.1 | 0 | 0 | 0 |  | 0 | 8 | 1.5 | 866 | 0 | 0 |  |  | 15 | 0
[9 empty] | 0 | 0 |  |  |  | 0
[8 empty] | PTAC's Total Energy Savings | 0 | 0 |  |  |  | 0
For PTACSHP's | Units | Tons / Unit | SEER or EER - Installed | C.O.P. | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings Cooling | Annual kWh Savings heating | Total savings | Project Life | Lifetime Energy Savings
< 5.1 | 0 | 0 | 0 | 0 | 0 | 8 | 1.5 | 866 | 0 | 0 | 0 | 0 | 15 | 0
< 5.1 | 0 | 0 | 0 | 0 | 0 | 8 | 1.5 | 866 | 0 | 0 | 0 | 0 | 15 | 0
[9 empty] | 0 | 0 |  |  |  | 0
[8 empty] | PTAC's Total Energy Savings | 0 | 0 | 0 | 0 |  | 0
minisplits ac | Units | Tons / Unit | SEER or EER - Installed |  | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  |  | Project Life | Lifetime Energy Savings
< 5.1 | 0 | 0 | 0 |  | 0 | 12 | 1 | 866 | 0 | 0 |  |  | 15 | 0
< 5.1 | 0 | 0 | 0 |  | 0 | 12 | 1 | 866 | 0 | 0 |  |  | 15 | 0
[9 empty] | 0 | 0 |  |  |  | 0
[8 empty] | Total Energy Savings | 0 | 0 |  |  |  | 0
minisplit ashp | Units | Tons / Unit | SEER or EER - Installed | C.O.P. | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings Cooling | Annual kWh Savings heating | Total savings Residentail base | Project Life | Lifetime Energy Savings
< 5.1 | 0 | 0 | 0 | 0 | 0 |  | 0 | 866 | 0 | 0 | 0 | 0 | 15 | 0
< 5.1 | 0 | 0 | 0 | 0 | 0 |  | 0 | 866 | 0 | 0 | 0 | 0 | 15 | 0
[9 empty] | 0 | 0 |  |  |  | 0
[8 empty] | Total Energy Savings | 0 | 0 | 0 | 0 |  | 0
For water source HP's | Units | Tons / Unit | SEER or EER - Installed |  | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  |  | Project Life | Lifetime Energy Savings
< 5.1 | 0 | 0 | 0 |  | 0 | 10 | 1.2 | 866 | 0 | 0 |  |  | 15 | 0
< 5.1 | 0 | 0 | 0 |  | 0 | 10 | 1.2 | 866 | 0 | 0 |  |  | 15 | 0
[9 empty] | 0 | 0 |  |  |  | 0
[8 empty] | Total Energy Savings | 0 | 0 |  |  |  | 0
Rebates must comply with all program specific rules and qualifications.
Minimum Qualifying Criteria | [5 empty] | Rebates
Equipment Type |  | Unit Tons | EER |  | IPLV | Base Rebate $/ton | Increm - $/ton per 0.1 EER above base | Total savings kWh |  | 0
Packaged Terminal Air Conditioners (PTAC) | [7 empty] | Total kW saved |  | 0
with Elec. Resis. Htg |  |  | 10 |  |  | 10 | 1.75
with Heat Pump Htg |  |  | 10 |  |  | 10 | 3.5
Geothermal Heat Pumps |  |  |  |  | COP
Closed Loop |  |  | 14.1 |  | 3.3 | 18 | 5
Open Loop |  |  | 16.2 |  | 3.6 | 18 | 5
Direct Exchange |  |  | 15 |  | 3.5 | 18 | 5
Rooftop Units (RTU)
< 65,000 Btuh |  | <5.4 | 11 |  | SEER | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  | 10.6 | 18 | 5
135,000 < X < 240,000 |  | 11.4 - 19.9 | 9.7 |  | 9.9 | 18 | 5
240,000 < X < 760,000 |  | 20.0 - 63.3 | 9.5 |  | 9.7 | 18 | 5
> 760,000 |  | > 63.3 | 9.2 |  | 9.4 | 18 | 5
Split Systems
< 65,000 Btuh |  | < 5.4 | 12.00(SEER) |  |  | 18 | 5
Condensers
< 65,000 Btuh |  | < 5.4 | 12 |  |  | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  |  | 18 | 5
> 135,000 |  | > 11.4 | 10.1 |  |  | 18 | 5
Chillers |  |  | Full Load Efficiency kW/ton |  | Non-Standard Part Load Value Efficiency kW/ton | Base Rebate $/ton | Incremental rebate, $/ton per 0.010 kW/ton below base
< 150 tons (Centrifugal or Screw) |  |  | 0.65 |  | - | 26 | 6.5
> 150 tons (Centrifugal or Screw)* |  |  | 0.6 |  | - | 26 | 6.5
> 150 tons (Centrifugal only)* |  |  | 0.6 |  | 0.56 | 22.75 | 2.6

## Payment Request (hidden)
[7 empty] | Application # | 0
#REF!
( Member Information Page )
Wright-Hennepin Cooperative Electric Assn., P.O. Box 330, Rockford, MN 55373 Ph: 763-477-3000
Business Name |  | 0
Contact Name |  | 0 |  |  | Phone | 0
Account Number |  | 0 |  | Email Address |  |  | 0
Billing Address |  | 0
|  | 0 |  |  | 0 |  |  | 0
|  | City |  |  | State |  |  | Zip
Vendor Information
Vendor Name |  | 0
Mailing Address |  | 0
City, State, ZIP |  | 0
Contact Name |  | 0 |  |  | Phone | 0
kW Savings | 0
kWh Savings | #REF!
Project Cost | #REF!
TOTAL REBATE | #REF!
Date
(COOPERATIVE)
Send payment request check to:
(COOPERATIVE)
Send this request and invoices to:
Rebates@GREnergy.com
Great River Energy
12300 Elm Creek Boulevard
Maple Grove, MN 55369-4718
For Great River Energy use only
Payment Date:
Amount:
GRE Approval:
Approval Date: