## General Application
2018 Commercial HVAC Program
(RTU, Split System, ASHP, & Economizer)
- Application Page -
Business Member Information
Business Member Name (company)
Installation Address
City, State, Zip |  |  |  | MN
Business Member Contact (person)
Email
Phone Number
Third-Party Rebate Payment Information
Rebate Recipient
The standard & preferred practice of Wright Hennepin Cooperative Electric Association (WH), is for all rebate payments to be made direct to the cooperative's business member. If however the business member desires that the rebate payment be issued to a third-party entity, then the following information must be provided. It is mandatory that the relevant signatory, be wholly authorized to represent/act on behalf of the WH business member.
Alternative Recipient (company)
Mailing Address
City, State, Zip
Contact Person (per above company)
Authorized By (please print) |  |  |  | Representing*:
|  |  | 0 | * if other than the WH business member request will be considered non-valid
General Program Information & Requirements
1) Complete all applicable rebate forms as including all requested information
3) Rebate program qualification criteria is defined per "Rules & Information" section of application form
4) Funding for qualifying projects is subject to status of rebate program budget at time of application
5) For consideration rebate applications should be submitted no later than November 16, 2018
The undersigned does hereby certify and/or acknowledge that 1) the undersigned is solely responsible for the accuracy of the information contained in this application, 2) that all rules of the program have been followed, and 3) that the installation is complete. The undersigned also acknowledges that nothing contained in the application imposes any liability on the cooperative for the work performed and information presented by the member, member's engineer, contractor, or vendor. The undersigned also authorizes payment of rebate incentive directly to the rebate recipient as specified.
Business Member Signature |  |  |  |  | Date:

## Program Rules & Information
2018 Commercial HVAC Program
(RTU, Split System, ASHP, & Economizers)
- Rules & Information Page -
Warranty Information
Rebate qualifications and recommendations do not imply any representation or warranty of such equipment, design or installation by Wright-Hennepin Cooperative Electric Association (WH). The cooperative shall not be responsible or liable for any personal injury or property damage caused by the installed equipment. The cooperative does not guarantee that a specific level of energy or cost savings will result from the implementation of energy conservation measures or the use of products as incentivized under this program. In no event shall the cooperative be liable for any incidental or consequential damages.
General Program Rules & Information
1. The member is responsible for checking with the cooperative to determine funding availability and resolve questions regarding program rules and qualification of products.
2. Installation must be complete in order for rebate funds to be issued.
3. Members and vendors must submit itemized equipment and installation invoices, completed rebate application, and manufacturer equipment specifications. To ensure that the equipment installed meets the cooperative's requirements, these invoices must itemize labor charges & quantity and price of the equipment installed. Information regarding the manufacturer and model numbers for all installed equipment also need to be provided.
4. Rebates must be applied for within 12 months of invoice date.
5. The cooperative reserves the right to conduct random inspections of installations.
6. The cooperative reserves the right to determine the maximum rebate amount payable.
Specific Rules & Information
1. Only new central air conditioning units and remote condensing unit retrofits qualify. Rebuilds do not qualify.
2. If the units efficiency rating is in EER and the application asks for SEER, then SEER = EER / 0.875
3. For split systems, both the condensing unit and the A-coil must be purchased to qualify for a rebate incentive.
Enthalpy controls are required to qualify for this rebate. CO₂ controls are optional but recommended.

## Qualifications & Data Entry
Wright-Hennepin Cooperative Electric Association
- 2018 RTU, Split System, ASHP, & Economizer Rebate Program -
(Rebates are also available for PTAC, GSHP, and chiller systems. Contact a WH key account representative for further information)
Minimum Qualifying Criteria Section
Equipment Type |  |  | Unit Tonnage | EERbaseline (SEER where indicated) | iEERbaseline
Rooftop Units (RTU)
≤ 65,000 Btuh |  |  | < 5.4 | 13.5 SEER | N/A
≥ 65,000 - < 135,000 Btuh |  |  | 5.5 - 11.3 | 10.8 | 13
≤ 135,000 - < 240,000 Btuh |  |  | 11.4 - 19.9 | 10.7 | 13
≤ 240,000 - < 760,000 Btuh |  |  | 20.0 - 63.3 | 10.2 | 12
≥ 760,000 Btuh |  |  | ≥ 63.3 | 9.6 | 12
Split Systems
≤ 65,000 Btuh |  |  | < 5.4 | 13.5 SEER | N/A
≥ 65,000 - < 135,000 Btuh |  |  | 5.5 - 11.3 | 10.8 | N/A
≥ 135,000 - ≤ 250,000 Btuh |  |  | 11.4 - 19.9 | 10.7 | N/A
Condensers
> 65,000 - < 135,000 Btuh |  |  | 5.5 - 11.3 | 10.8 | 13
≥ 135,000 Btuh |  |  | ≥ 11.4 | 10.7 | 13
Air Source Heat Pumps |  |  |  |  | HSPF | iEERbaseline
≤ 65,000 Btuh |  |  | < 5.4 | 13 SEER | 7.7 | n/a
≥ 65,000 - < 135,000 Btuh |  |  | 5.5 - 11.3 | 10.1 | 8.5 | 13
≥ 135,000 - ≤ 250,000 Btuh |  |  | 11.4 - 19.9 | 9.3 | 8.5 | 13
Economizers |  |  | Must be Enthalpy Controlled. CO2 Control is Optional
Equipment Information Section
* Enter unit information into relevant category below. If differing efficiency ratings are being considered for an otherwise identical unit, then the optional EER, IEER, etc. values should be listed seperately.
* If both an EER and iEER rating are available for a given unit, then both should be listed accordingly.
* In order for the applicable rebate incentive to be determined, the completed form needs to be returned to a WH key account representative.
Rooftop Units, Split Systems, & Condensers
Manufacturer | Tonnage | EERbaseline | EERactual | iEERbaseline | iEERactual | Quantity
Air Source Heat Pumps
Manufacturer | Tonnage | EERbaseline | EERactual | HSPFbaseline | HSPFactual | Quantity
Economizers
Manufacturer |  | Tonnage | Quantity | CO2 (Yes, No)

## Cooling calcs (hidden)
[9 empty] | Application # |  |  | #REF!
Customer | #REF!
Co-op | #REF!
Year | 2014
Cooling Energy Savings
kW - Tons * kW/Ton |  | kW/Ton = 12/EER or SEER
For RTU's & Split Systems | Units | Tons/Unit | SEER or EER - Installed | kW/Ton | SEER or EER -Required minus 2 | kW/Ton | Cooling FLH/Yr | kW Savings | Annual kWh Savings | Heating FLH/Yr | Project Life | Lifetime Energy Savings
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
11.4 - 19.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
11.4 - 19.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
11.4 - 19.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
11.4 - 19.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
20.0 - 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
20.0 - 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
20.0 - 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
20.0 - 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
> 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
> 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
> 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
> 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
[7 empty] | RTU/Split System Total Energy Savings | #REF! | #REF! |  |  | #REF!
For ASHP | Units | Tons/Unit | SEER or EER - Installed | kW/Ton | SEER or EER -Required minus 2 | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  | Project Life | Lifetime Energy Savings | heating Savings | ASHP operatign hrs yr. | Assumed avg. C.O.P.
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF! |  | 1000 | 2.5
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
11.4 - 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
11.4 - 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
11.4 - 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
11.4 - 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
[7 empty] | ASHP System Total Energy Savings | #REF! | #REF! |  |  | #REF!
For Economizers | Units | Tons/Unit | SEER or EER | kW/Ton |  |  | FLH/Yr | kW Savings | Annual kWh Savings |  | Project Life | Lifetime Energy Savings
| #REF! | #REF! | 10.5 | 1.1429 |  |  | 866 | #REF! | #REF! |  | 15 | #REF!
| #REF! | #REF! | 10.5 | 1.1429 |  |  | 866 | #REF! | #REF! |  | 15 | #REF!
| #REF! | #REF! | 10.5 | 1.1429 |  |  | 866 | #REF! | #REF! |  | 15 | #REF!
| #REF! | #REF! | 10.5 | 1.1429 |  |  | 866 | #REF! | #REF! |  | 15 | #REF!
[8 empty] | #REF! | #REF! |  |  | #REF!
[7 empty] | Economizer Total Energy Savings | #REF! | #REF! |  |  | #REF!
Chiller | Units | Tons/Unit | kW/Ton - Installed | FLH/Yr | Max kW/Ton | kW Savings | Annual kWh Savings | Project Life | Lifetime Energy Savings
< 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
< 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
[5 empty] | Chiller Total Energy Savings | 0 | 0 |  | 0
[8 empty] | Total kWh Savings |  |  | #REF!
Rebates must comply with all program specific rules and qualifications. | [7 empty] | Total kW Savings |  |  | #REF!
Minimum Qualifying Criteria |  |  |  |  | Rebates | [5 empty] | #REF!
Equipment Type |  | Unit Tons | EER | IPLV | Base Rebate $/ton | Increm - $/ton per 0.1 EER above base
Packaged Terminal Air Conditioners (PTAC)
with Elec. Resis. Htg |  |  | 10 |  | 9.75 | 1.65
with Heat Pump Htg |  |  | 10 |  | 9.75 | 3.25
Geothermal Heat Pumps |  |  |  | COP
Closed Loop |  |  | 14.1 | 3.3 | 18 | 5
Open Loop |  |  | 16.2 | 3.6 | 18 | 5
Direct Exchange |  |  | 15 | 3.5 | 18 | 5
Rooftop Units (RTU)
< 65,000 Btuh |  | <5.4 | 11 | SEER | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 | 10.6 | 18 | 5
135,000 < X < 240,000 |  | 11.4 - 19.9 | 9.7 | 9.9 | 18 | 5
240,000 < X < 760,000 |  | 20.0 - 63.3 | 9.5 | 9.7 | 18 | 5
> 760,000 |  | > 63.3 | 9.2 | 9.4 | 18 | 5
Split Systems
< 65,000 Btuh |  | < 5.4 | 12.00(SEER) |  | 18 | 5
Condensers
< 65,000 Btuh |  | < 5.4 | 12 |  | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  | 18 | 5
> 135,000 |  | > 11.4 | 10.1 |  | 18 | 5
Chillers |  |  | Full Load Efficiency kW/ton | Non-Standard Part Load Value Efficiency kW/ton | Base Rebate $/ton | Incremental rebate, $/ton per 0.010 kW/ton below base
< 150 tons (Centrifugal or Screw) |  |  | 0.65 | - | 26 | 6.5
> 150 tons (Centrifugal or Screw)* |  |  | 0.6 | - | 26 | 6.5
> 150 tons (Centrifugal only)* |  |  | 0.6 | 0.56 | 22.75 | 2.6

## Chiller Savings Sheet (hidden)
Customer: | 0 | [7 empty] | Application #: | 0
Co-op: | (COOPERATIVE), Address, Phone
Year: | 2014
Cooling Energy Savings
kW - Tons * kW/Ton |  | kW/Ton = 12/EER or SEER
Air cooled chillers | Units | Tons/Unit | SEER or EER - Installed | kW/Ton | SEER or EER -Required | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings | Project Life | Lifetime Energy Savings
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 15 | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 15 | #REF!
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
[8 empty] | #REF! | #REF! |  | #REF!
[8 empty] | 0 | 0 |  | 0
[7 empty] | air cooled chillerSystem Total Energy Savings | #REF! | #REF! |  | #REF!
[8 empty] | 0 | 0 |  | 0
[7 empty] | PTAC's Total Energy Savings | 0 | 0 |  | 0
Chiller | Units | Tons/Unit | kW/Ton - Installed | FLH/Yr | Max kW/Ton | kW Savings | Annual kWh Savings | Project Life | Lifetime Energy Savings
< 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
< 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
≥ 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
≥ 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
< 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
< 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
≥ 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
≥ 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
[5 empty] | water Chiller Total Energy Savings | #REF! | #REF! |  | #REF!
[5 empty] | VAV's | Number of Units |  | CFM | Savings
[6 empty] | #REF! |  | #REF! | #REF!
[6 empty] | #REF! |  | #REF! | #REF!
0
0
0
0
#REF!
[8 empty] | Total kWh Savings | #REF!
Minimum Qualifying Criteria |  |  |  |  | Rebates |  |  | Total kW Savings | #REF!
Equipment Type |  | Unit Tons | EER | IPLV | Base Rebate $/ton | Increm - $/ton per 0.1 EER above base
Packaged Terminal Air Conditioners (PTAC)
with Elec. Resis. Htg |  |  | 10 |  | 9.75 | 1.65
with Heat Pump Htg |  |  | 10 |  | 9.75 | 3.25
Geothermal Heat Pumps |  |  |  | COP
Closed Loop |  |  | 14.1 | 3.3 | 18 | 5
Open Loop |  |  | 16.2 | 3.6 | 18 | 5
Direct Exchange |  |  | 15 | 3.5 | 18 | 5
Rooftop Units (RTU)
< 65,000 Btuh |  | <5.4 | 11 | SEER | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 | 10.6 | 18 | 5
135,000 < X < 240,000 |  | 11.4 - 19.9 | 9.7 | 9.9 | 18 | 5
240,000 < X < 760,000 |  | 20.0 - 63.3 | 9.5 | 9.7 | 18 | 5
> 760,000 |  | > 63.3 | 9.2 | 9.4 | 18 | 5
Split Systems
< 65,000 Btuh |  | < 5.4 | 12.00(SEER) |  | 18 | 5
Condensers
< 65,000 Btuh |  | < 5.4 | 12 |  | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  | 18 | 5
> 135,000 |  | > 11.4 | 10.1 |  | 18 | 5
Chillers |  |  | Full Load Efficiency kW/ton | Non-Standard Part Load Value Efficiency kW/ton | Base Rebate $/ton | Incremental rebate, $/ton per 0.010 kW/ton below base
< 150 tons (Centrifugal or Screw) |  |  | 0.65 | - | 26 | 6.5
> 150 tons (Centrifugal or Screw)* |  |  | 0.6 | - | 26 | 6.5
> 150 tons (Centrifugal only)* |  |  | 0.6 | 0.56 | 22.75 | 2.6

## PTAC Savings Sheet (2) (hidden)
[12 empty] | Application # | 0
Packaged Terminal Air Conditioner / Heat Pump (PTAC/HP)
Mini-Split & Water-Source Heat Pumps
(COOPERATIVE), Address, Phone
Business Name: |  | 0
kW - Tons * kW/Ton |  |  | kW/Ton = 12/EER or SEER
For PTAC's | Units | Tons / Unit | SEER or EER - Installed |  | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  |  | Project Life | Lifetime Energy Savings
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 8 | 1.5 | 866 | #REF! | #REF! |  |  | 15 | #REF!
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 8 | 1.5 | 866 | #REF! | #REF! |  |  | 15 | #REF!
[9 empty] | #REF! | #REF! |  |  |  | #REF!
[8 empty] | PTAC's Total Energy Savings | #REF! | #REF! |  |  |  | #REF!
For PTACSHP's | Units | Tons / Unit | SEER or EER - Installed | C.O.P. | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings Cooling | Annual kWh Savings heating | Total savings | Project Life | Lifetime Energy Savings
< 5.1 | #REF! | #REF! | #REF! | #REF! | #REF! | 8 | 1.5 | 866 | #REF! | #REF! | #REF! | #REF! | 15 | #REF!
< 5.1 | #REF! | #REF! | #REF! | #REF! | #REF! | 8 | 1.5 | 866 | #REF! | #REF! | #REF! | #REF! | 15 | #REF!
[9 empty] | #REF! | #REF! |  |  |  | #REF!
[8 empty] | PTAC's Total Energy Savings | #REF! | #REF! | #REF! | #REF! |  | #REF!
minisplits ac | Units | Tons / Unit | SEER or EER - Installed |  | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  |  | Project Life | Lifetime Energy Savings
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 12 | 1 | 866 | #REF! | #REF! |  |  | 15 | #REF!
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 12 | 1 | 866 | #REF! | #REF! |  |  | 15 | #REF!
[9 empty] | #REF! | #REF! |  |  |  | #REF!
[8 empty] | Total Energy Savings | #REF! | #REF! |  |  |  | #REF!
minisplit ashp | Units | Tons / Unit | SEER or EER - Installed | C.O.P. | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings Cooling | Annual kWh Savings heating | Total savings Residentail base | Project Life | Lifetime Energy Savings
< 5.1 | #REF! | #REF! | #REF! | #REF! | #REF! |  | 0 | 866 | #REF! | #REF! | #REF! | #REF! | 15 | #REF!
< 5.1 | #REF! | #REF! | #REF! | #REF! | #REF! |  | 0 | 866 | #REF! | #REF! | #REF! | #REF! | 15 | #REF!
[9 empty] | #REF! | #REF! |  |  |  | #REF!
[8 empty] | Total Energy Savings | #REF! | #REF! | #REF! | #REF! |  | #REF!
For water source HP's | Units | Tons / Unit | SEER or EER - Installed |  | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  |  | Project Life | Lifetime Energy Savings
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 10 | 1.2 | 866 | #REF! | #REF! |  |  | 15 | #REF!
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 10 | 1.2 | 866 | #REF! | #REF! |  |  | 15 | #REF!
[9 empty] | #REF! | #REF! |  |  |  | #REF!
[8 empty] | Total Energy Savings | #REF! | #REF! |  |  |  | #REF!
Rebates must comply with all program specific rules and qualifications.
Minimum Qualifying Criteria | [5 empty] | Rebates
Equipment Type |  | Unit Tons | EER |  | IPLV | Base Rebate $/ton | Increm - $/ton per 0.1 EER above base | Total savings kWh |  | #REF!
Packaged Terminal Air Conditioners (PTAC) | [7 empty] | Total kW saved |  | #REF!
with Elec. Resis. Htg |  |  | 10 |  |  | 10 | 1.75
with Heat Pump Htg |  |  | 10 |  |  | 10 | 3.5
Geothermal Heat Pumps |  |  |  |  | COP
Closed Loop |  |  | 14.1 |  | 3.3 | 18 | 5
Open Loop |  |  | 16.2 |  | 3.6 | 18 | 5
Direct Exchange |  |  | 15 |  | 3.5 | 18 | 5
Rooftop Units (RTU)
< 65,000 Btuh |  | <5.4 | 11 |  | SEER | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  | 10.6 | 18 | 5
135,000 < X < 240,000 |  | 11.4 - 19.9 | 9.7 |  | 9.9 | 18 | 5
240,000 < X < 760,000 |  | 20.0 - 63.3 | 9.5 |  | 9.7 | 18 | 5
> 760,000 |  | > 63.3 | 9.2 |  | 9.4 | 18 | 5
Split Systems
< 65,000 Btuh |  | < 5.4 | 12.00(SEER) |  |  | 18 | 5
Condensers
< 65,000 Btuh |  | < 5.4 | 12 |  |  | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  |  | 18 | 5
> 135,000 |  | > 11.4 | 10.1 |  |  | 18 | 5
Chillers |  |  | Full Load Efficiency kW/ton |  | Non-Standard Part Load Value Efficiency kW/ton | Base Rebate $/ton | Incremental rebate, $/ton per 0.010 kW/ton below base
< 150 tons (Centrifugal or Screw) |  |  | 0.65 |  | - | 26 | 6.5
> 150 tons (Centrifugal or Screw)* |  |  | 0.6 |  | - | 26 | 6.5
> 150 tons (Centrifugal only)* |  |  | 0.6 |  | 0.56 | 22.75 | 2.6

## Payment Request (hidden)
[7 empty] | Application # | #REF!
#REF!
#REF!
#REF!
Business Name |  | #REF!
Contact Name |  | #REF! |  |  | Phone | #REF!
Account Number |  | #REF! |  | Email Address |  |  | #REF!
Billing Address |  | #REF!
|  | #REF! |  |  | #REF! |  |  | #REF!
|  | City |  |  | State |  |  | Zip
Vendor Information
Vendor Name |  | #REF!
Mailing Address |  | #REF!
City, State, ZIP |  | #REF!
Contact Name |  | #REF! |  |  | Phone | #REF!
kW Savings | #REF!
kWh Savings | #REF!
Project Cost | #REF!
TOTAL REBATE | #REF!
Date
(COOPERATIVE)
Send payment request check to:
(COOPERATIVE)
Send this request and invoices to:
Rebates@GREnergy.com
Great River Energy
12300 Elm Creek Boulevard
Maple Grove, MN 55369-4718
For Great River Energy use only
Payment Date:
Amount:
GRE Approval:
Approval Date: